## Master Datas
Skilled Electrican Salary
Data
Providing the services of Skilled Electrican/Wireman trade to work in shift duties as deployed by the Field Engineer for the period from 1.04.2026 to 31.03.2027. i.e 12 Months round the clock to attend the duties under Engineer -in charge control according to their requirement.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per year | Amount
(SOR 2025-26 CATEGORY- I -5) | 1 | Providing the services of Skilled Electrican/Wireman trade to work in shift duties as deployed by the Field Engineer for the period from 1.04.2026 to 31.03.2027. i.e 12 Months round the clock to attend the duties under Engineer -in charge control according to their requirement. (SOR 2025-26 ELEC- I -5) (Rs775.00 per day) | 1 | each | 1 | each
Cost of materials per each
Rate per Year
Total
Semi Skilled Electrican / Helper Salary
Data
Providing the services of Semi Skilled Electrican / Helper trade to work in the General shift duty as deployed by the Field Engineer for the period from 1.04.2026 to 31.03.2027 i.e 12 Months round the clock to attend the duties under Engineer -in charge control according to their requirement.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per year | Amount
(SOR 2025-26 CATEGORY- II -34) | 1 | Providing the services of Semi Skilled Electrican / Helper trade to work in the General shift duty as deployed by the Field Engineer for the period from 1.04.2026 to 31.03.2027 i.e 12 Months round the clock to attend the duties under Engineer -in charge control according to their requirement. (SOR 2025-26 ELEC- II -34) ( 365Days*650.00) | 1 | each | 1 | each
Cost of materials per each
Rate per Year
Total
3 Plate Jumbo Ceiling Rose
Data
Replacement of u/s with new Supply of 3 Plate Jumbo Ceiling Rose.vMakes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.7.1.m | 1 | Supply of 3 Plate Jumbo Ceiling Rose.Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 25
Cost of materials per each
Add OH@10.615%
Total
Or Say
PVC / Cotton Insulation tape Role
Data
Supply of PVC / Cotton Insulation tape Role ( 10 Mtrs)
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-10.1.15 | 1 | PVC / Cotton Insulation tape Role ( 10 Mtrs) | 1 | each | 1 | each | 26
Cost of materials per each
Add OH@10.615%
Total
Or Say
Capacitor for fans
Data
Replacement of u/s with new Supply of Capacitor for table / cabin / pedestal / ceiling / exhaust fan complete with alignment of shaft and tested.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-5.14.10.c | 1 | Supply of Capacitor for table / cabin / pedestal / ceiling / exhaust fan complete with alignment of shaft and tested. | 1 | each | 1 | each | 65
Cost of materials per each
Add OH@10.615%
Total
Or Say
BH / SBH
Data
Replacement of u/s with new Supply of BH / SBH. Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.7.1 n | 1 | Supply of BH / SBH. Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 25
Cost of materials per each
Add OH@10.615%
Total
Or Say
Pendent Holder
Data
Replacement of u/s with new Supply of Pendent Holder / Adopter. . Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.7.1 o | 1 | Supply of Pendent Holder / Adopter. . Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 25
Cost of materials per each
Add OH@10.615%
Total
Or Say
Ding Dong Bell
Data
Replacement of u/s with new Supply of Ding Dong Bell. . Makes : GM / Million / Gold Medal / Anchor / Great white.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.7.2 b | 1 | Supply of Ding Dong Bell. . Makes : GM / Million / Gold Medal / Anchor / Great white. | 1 | each | 1 | each | 125
Cost of materials per each
Add OH@10.615%
Total
Or Say
Buzzer
Data
Replacement of u/s with new Supply of Buzzer. . Makes : GM / Million / Gold Medal / Anchor / Great white.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.7.2 a | 1 | Supply of Buzzer. . Makes : GM / Million / Gold Medal / Anchor / Great white. | 1 | each | 1 | each | 60
Cost of materials per each
Add OH@10.615%
Total
Or Say
6sqmm WPTC Aluminium wire
Data
Rewiring with new Supply of 6sqmm WPTC (Weather Proof Twin Core) ISI mark Alluminium Wire. Makes : Polycab / GM / Million / V-Guard / Gold Medal
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.6.2a | 1 | Supply of 6sqmm WPTC (Weather Proof Twin Core) ISI mark Alluminium Wire. Makes : Polycab / GM / Million / V-Guard / Gold Medal / Kundancab / HPL / RPG / Nandicab / Nakoda / Payal / Finecab / Gemini / Vimal / Suncab / Stanjo | 1 | Mtr | 1 | Mtr | 41.16
Cost of materials per each
Add OH@10.615%
Total
Or Say
1.5 sq.mm FRLSH copper cable
Data
Rewiring with new Supply of 1.5Sqmm Class - II Conductor HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC NOTE 2 (as per ELEC 1.5 section SOR 2025-26) : If FRLSH (FRLS) Wires are used instead of HFFR during execution of work, for arrig the FRLSH (FRLS) Flexible wires rates 15% may be deducted from the finished Cost data of Light / Fan / Separate Plug Points and Run of mains.NOTE 3 : If Class - II conductor Wires are not used 5% may be deducted from the finished Cost data of Light / Fan / Separate Plug Points and Run of mains.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.5.1 a | 1 | Supply of 1.5Sqmm Class - II Conductor HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC | 1 | Mtr | 1 | Mtr | 25.3
Cost of materials per each
Add OH@10.615%
Sub Total
Total cost after Deduction of finished item cost for supply of FRLSH wires @ 20%
Or Say
2.5 sq.mm FRLSH copper cable
Data
Rewiring with new Supply of 2.5Sqmm Class - II Conductor HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC NOTE 2 (as per ELEC 1.5 section SOR 2025-26) : If FRLSH (FRLS) Wires are used instead of HFFR during execution of work, for arrig the FRLSH (FRLS) Flexible wires rates 15% may be deducted from the finished Cost data of Light / Fan / Separate Plug Points and Run of mains.NOTE 3 : If Class - II conductor Wires are not used 5% may be deducted from the finished Cost data of Light / Fan / Separate Plug Points and Run of mains
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.5.1 b | 1 | Supply of 2.5Sqmm Class - II Conductor HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC | 1 | Mtr | 1 | Mtr | 40.95
Cost of materials per each
Add OH@10.615%
Sub Total
Total cost after Deduction of finished item cost for supply of FRLSH wires @ 20%
Or Say
4.0 sq.mm FRLSH copper cable
Data
Rewiring with new Supply of 4.00 Sqmm HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.5.1 c | 1 | Supply of 4.00 Sqmm HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC | 1 | each | 1 | each | 62.5
Cost of materials per each
Add OH@10.615%
Sub Total
Total cost after Deduction of finished item cost for supply of FRLSH wires @ 20%
Or Say
6.0 sq.mm FRLSH copper cable
Data
Rewiring with new Supply of 6.00 Sqmm HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-1.5.1 d | 1 | Supply of 6.00 Sqmm HFFR PVC insulated 1100V grade as per IS:694 /2010, IS 17048 specification for Copper cable. Makes : Finolex / RR kabel / Havells / Polycab/Beljin / Finecab Gold / GM / Gold Medal / Million / KEI / VGuard ./ DEC | 1 | each | 1 | each | 92.3
Cost of materials per each
Add OH@10.615%
Sub Total
Total cost after Deduction of finished item cost for supply of FRLSH wires @ 20%
Or Say
6-32A SP MCB
Data
Replacement of u/s with new Supply of 6-32A SP MCB 10 kA, C/D Curve ISI Mark. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-2.14.1 a | 1 | Supply of 6-32A SP MCB 10 kA, C/D Curve ISI Mark. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora | 1 | each | 1 | each | 340
Cost of materials per each
Add OH@10.615%
Total
Or Say
40A TP MCB
Data
Replacement of u/s with new Supply of 40A TP MCB10 kA, C/D Curve ISI Mark. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-2.14.1 h | 1 | Supply of 40A TP MCB10 kA, C/D Curve ISI Mark. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora | 1 | each | 1 | each | 2390
Cost of materials per each
Add OH@10.615%
Total
Or Say
40A DP Isolator
Data
Replacement of u/s with new Supply of 40A DP Isolator. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-2.15.1 - d | 1 | Supply of 40A DP Isolator. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora | 1 | each | 1 | each | 620
Cost of materials per each
Add OH@10.615%
Total
Or Say
63A FP Isolator
Data
Replacement of u/s with new Supply of 63A FP Isolator. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora /
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-2.15.1 - g | 1 | Supply of 63A FP Isolator. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora | 1 | each | 1 | each | 1512
Cost of materials per each
Add OH@10.615%
Total
Or Say
100A FP Isolator
Data
Replacement of u/s with new Supply of 100A FP Isolator. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-2.15.1 h | 1 | Supply of 100A FP Isolator. Makes : Legrand-DX3 / Schneider-Acti9 / Siemens / LK Exora | 1 | each | 1 | each | 1617
Cost of materials per each
Add OH@10.615%
Total
Or Say
125A 3 Pole MCCB
Data
Replacement of u/s with new Supply of 125A 3 Pole MCCB, Adjustable, Confirms to IS/IEC 60947-2 having Breaking Capacity 25kA with thermal magnetic release Panel Mounted. Makes : LK - D sine / Schneider-NS NSX/Legrand -DP X3/ Siemens-3V
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per unit | Amount
ELEC-2.8.1 c | 1 | Supply of 125A 3 Pole MCCB, Adjustable, Confirms to IS/IEC 60947-2 having Breaking Capacity 25kA with thermal magnetic release Panel Mounted. Makes : LK (L&T) - D sine / Schneider-NS NSX/Legrand -DP X3/ Siemens-3V | 1 | each | 1 | each | 11380
Cost of materials per each
Add OH@10.615%
Total
Or Say
6/10A 1Way 1 Module Switch
Data
Replacement of u/s with new Supply of 6/10A 1Way 1 Module SwitchMakes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million m way / Anchor Roma Plus / Crabtree Verona / Panasonic Vision / Hager Insista / Benlo Vesta / C&S Primo / CPL Vysma / Polycab Levana / Salzar - Elite / Elleys E-Soft / Fybros Four-X
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.2a | 1 | Supply of 6/10A 1Way 1 Module SwitchMakes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million m way / Anchor Roma Plus / Crabtree Verona / Panasonic Vision / Hager Insista / Benlo Vesta / C&S Primo / CPL Vysma / Polycab Levana / Salzar - Elite / Elleys E-Soft / Fybros Four-X | 1 | each | 1 | each | 89
Cost of materials per each
Add OH@10.615%
Total
Or Say
10A 3 Pin 2 Moduar Socket
Data
Replacement of u/s with new Supply of 10A 3 Pin 2 Moduar Socket with shutter 1Way 1 Module SwitchMakes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.2d | 1 | Supply of 10A 3 Pin 2 Moduar Socket with shutter 1Way 1 Module SwitchMakes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 131
Cost of materials per each
Add OH@10.615%
Total
Or Say
10A Modular Bell Push
Data
Replacement of u/s with new Supply of 10A Modular Bell Push with Neon Indicator- Makes : Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.2(f) | 1 | Supply of 10A Modular Bell Push with Neon Indicator- Makes : Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 126
Cost of materials per each
Add OH@10.615%
Total
Or Say
20A 1 Way 1 Module Modular Switch
Data
Replacement of u/s with new Supply of 20A 1 Way 1 Module Modular Switch with IndicatorMakes Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.2j | 1 | Supply of 20A 1 Way 1 Module Modular Switch with IndicatorMakes : Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 126
Cost of materials per each
Add OH@10.615%
Total
Or Say
20A 2 Module Modular Socket
Data
Replacement of u/s with new Supply of 20A 2 Module Modular Socket with shutter.Makes :Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.2k | 1 | Supply of 20A 2 Module Modular Socket with shutter.Makes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 189
Cost of materials per each
Add OH@10.615%
Total
Or Say
Electronic Fan Regulator
Data
Replacement of u/s with new Supply of 2 Module Modular type Electronic Fan Regulator. Makes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.2n | 1 | Supply of 2 Module Modular type Electronic Fan Regulator. Makes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 525
Cost of materials per each
Add OH@10.615%
Total
Or Say
6A 1 Way flush type Swich
Data
Replacement of u/s with new Supply of 6A 1 Way flush type Swich of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.7.1- a | 1 | Supply of 6A 1 Way flush type Swich of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 20
Cost of materials per each
Add OH@10.615%
Total
Or Say
6A 3/2 pin flush type Socket
Data
Replacement of u/s with new Supply of 6A 3/2 pin flush type Socket with shutter of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.7.1- d | 1 | Supply of 6A 3/2 pin flush type Socket with shutter of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 29
Cost of materials per each
Add OH@10.615%
Total
Or Say
6A 1 Way flush type Bed Switch / Bell Push
Data
Replacement of u/s with new Supply of 6A 1 Way flush type Bed Switch / Bell Push of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.7.1- g | 1 | Supply of 6A 1 Way flush type Bed Swich / Bell Push of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 23
Cost of materials per each
Add OH@10.615%
Total
Or Say
16A flush type Swich
Data
Replacement of u/s with new Supply of 16A flush type Swich of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.7.1- h | 1 | Supply of 16A flush type Swich of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 72
Cost of materials per each
Add OH@10.615%
Total
Or Say
16A flush type Socket
Data
Replacement of u/s with new Supply of 16A flush type Socket with shutter of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.7.1- i | 1 | Supply of 16A flush type Socket with shutter of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 72
Cost of materials per each
Add OH@10.615%
Total
Or Say
Flush Stepped type Electronic Regulator
Data
Replacement of u/s with new Supply of Flush Stepped type Electronic Regulator of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.7.1- l | 1 | Supply of Flush Stepped type Electronic Regulator of Makes : GM G Home / Gold Medal Olive / Million Zoom / Anchor Penta Cherry / Great white Omega / HPL / Vimal / CPL. | 1 | each | 1 | each | 242
Cost of materials per each
Add OH@10.615%
Total
Or Say
19/20mm Casing & Capping
Data
Replacement of u/s with new Supply of 19/20mm x 12 mm and thickness 1.2 mm width and height Casing and Caping with all accessories such as Ts, Bends, Elbows etc., complete for finished item of work. Makes : Modi with ISI or its equivalent make as approved by the department
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.2.5- a | 1 | Supply of 19/20mm x 12 mm and thickness 1.2 mm width and height Casing and Caping with all accessories such as Ts, Bends, Elbows etc., complete for finished item of work. Makes : Modi with ISI or its equivalent make as approved by the department | 1 | Mtr | 1 | Mtr | 37
Cost of materials per each
Add OH@10.615%
Total
Or Say
25mm x 12 mm Casing & Capping
Data
Replacement of u/s with new Supply of 25mm x 12 mm and thickness 1.2 mmwidth and height Casing and Caping with all accessories such as Ts, Bends, Elbows etc., complete for finished item of work. Makes : Modi with ISI or its equivalent make as approved by the department
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.2.5- b | 1 | Supply of 25mm x 12 mm and thickness 1.2 mmwidth and height Casing and Caping with all accessories such as Ts, Bends, Elbows etc., complete for finished item of work. Makes : Modi with ISI or its equivalent make as approved by the department | 1 | each | 1 | each | 42
Cost of materials per each
Add OH@10.615%
Total
Or Say
25mm PVC Pipe
Data
Replacement of u/s with new Supply of ISI 25mm outer dia medium grade, with IS:9537 part 3 rigid PVC pipe. Makes : Sudhakar / Finolex / Modi / VIP / Precision
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.2.2 b | 1 | Supply of ISI 25mm outer dia medium grade, with IS:9537 part 3 rigid PVC pipe. Makes : Sudhakar / Finolex / Modi / VIP / Precision / Universal / Million Plast / DEC / Beljin | 1 | each | 1 | each | 34
Cost of materials per each
Add OH@10.615%
Total
Or Say
Rewinding of motor of 1200mm / 1400mm ceiling Fan
Data
Replacement of u/s with new Rewinding of motor of 1200mm / 1400mm ceiling Fan including minor repairs, lubrication of ball bearings, bush bearings and replacing condencer, screws etc testing of fan for original speed.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.13.3 | 1 | Rewinding of motor of 1200mm / 1400mm ceiling Fan including minor repairs, lubrication of ball bearings, bush bearings and replacing condencer, screws etc testing of fan for original speed. | 1 | each | 1 | each | 740
Cost of materials per each
Add OH@10.615%
Total
Or Say
20W LED Batten light
Data
Replacement of old u/s with new Supply and transportation of 20W +/ 10% , >/ 0300 lumens, 1200 mm length LED light housing made with alluminium anodised body, wide operating voltage with Double side connection PF≥0.9, Surge protection: > 2KV, THD<15%, with inbuilt driver and frosted cover CCT: 3000K - 6500K as desired by the department as per IS, minimum CRI≥80 etc., complete with 5 years warranty with BIS Certification with BIS Certification. LUMINAIRE MAKE : Phillips / OSRAM / Wipro / Crompton / Bajaj / Havells / Jaquar
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-3.3.10 | 1 | Supply and transportation of 20W +/ 10% , >/ 0300 lumens, 1200 mm length LED light housing made with alluminium anodised body, wide operating voltage with Double side connection PF≥0.9, Surge protection: > 2KV, THD<15%, with inbuilt driver and frosted cover CCT: 3000K - 6500K as desired by the department as per IS, minimum CRI≥80 etc., complete with 5 years warranty with BIS Certification with BIS Certification. LUMINAIRE MAKE : Phillips / OSRAM / Wipro / Crompton / Bajaj / Havells / Jaquar Deduct 30% cost for 2 years Warrenty | 1 | each | 1 | each
Cost of materials per each
Add OH@10.615%
Total
Or Say
15W LED slimline panel light
Data
Replacement of old u/s with new Supply and transportation of 15W +/-10% (>= 1350 Lumens)edge lit LED slimline panel light Housing made of Pressure die cast aluminium with Powder coated, round / Square with Protruded high efficiency diffuser, IP20, with wide operating voltage range, Power factor > 0.9, Surge protection: > 2KV, System efficacy of >90 lumens/watt, CCT: 3000K - 6500K as desired by the department and as per IS, CRI >80, and THD is less than 15% etc., complete with 2 years warranty with BIS Certification. LUMINAIRE MAKE : Phillips / OSRAM / Wipro / Crompton / Bajaj / Havells / LED MAKE : Philips Lumileds / Cree / Nichia / Osram / Samsung / LG LEDs.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-3.3.7c | 1 | Supply and transportation of 15W +/-10% (>= 1350 Lumens)edge lit LED slimline panel light Housing made of Pressure die cast aluminium with Powder coated, round / Square with Protruded high efficiency diffuser, IP20, with wide operating voltage range, Power factor > 0.9, Surge protection: > 2KV, System efficacy of >90 lumens/watt, CCT: 3000K - 6500K as desired by the department and as per IS, CRI >80, and THD is less than 15% etc., complete with 2 years warranty with BIS Certification. LUMINAIRE MAKE : Phillips / OSRAM / Wipro / Crompton / Bajaj / Havells Deduct 30% cost for 2 years Warrenty | 1 | each | 1 | each
Cost of materials per each
Add OH@10.615%
Total
Or Say
7.0W LED Bulb
Data
Replacement of u/s with new Supply of 7.0W LED Lamp with input voltage 90 to 300V, Colour temparature 3000k - 6500k, Beam angle 170 - 220 degrees, B22 baseof Makes: Phillips / OSRAM / Crompton / Eveready / Bajaj / Havells
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-3.4.1 d | 1 | Supply of 7.0W LED Lamp with input voltage 90 to 300V, Colour temparature 3000k - 6500k, Beam angle 170 - 220 degrees, B22 baseof Makes: Phillips / OSRAM / Crompton / Eveready / Bajaj / Havells / Pharox / Halonix / Greenlites / IB LED/Jaquar / C&S / GM / Gold Medal / Million / Syska.. | 1 | each | 1 | each | 89
Cost of materials per each
Add OH@10.615%
Total
Or Say
12.0W LED Bulb
Data
Replacement of u/s with new Supply of 12.0W LED Lamp with input voltage 90 to 300V, Colour temparature 3000k - 6500k, Beam angle 170 - 220 degrees, B22 baseof Makes: Phillips / OSRAM / Crompton / Eveready / Bajaj / Havells
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-3.4.1 f | 1 | Supply of 12.0W LED Lamp with input voltage 90 to 300V, Colour temparature 3000k - 6500k, Beam angle 170 - 220 degrees, B22 baseof Makes: Phillips / OSRAM / Crompton / Eveready / Bajaj / Havells / Pharox / Halonix / Greenlites / IB LED/Jaquar / C&S / GM / Gold Medal / Million / Syska.. | 1 | each | 1 | each | 153
Cost of materials per each
Add OH@10.615%
Total
Or Say
LED Driver for LED down lights
Data
Replacement of u/s with new Supply and transportation of LED Driver with input line voltage 120V-270V AC, 50Hz with surge protection more than 2.5 KV, IP20, suitable for 12 W / 18 W / 20W / 22 W LED down lights. MAKES : PHILIPS / OSRAM / GE / CROMPTON / BAJAJ / Keselec / HALONIX / HAVELLS / HPL / SURYA / SYSKA / Jaquar /Arraystorm / GM / Goldmedal / PRO-LITE
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-3.6.1b | 1 | Supply and transportation of LED Driver with input line voltage 120V-270V AC, 50Hz with surge protection more than 2.5 KV, IP20, suitable for 12 W / 18 W / 20W / 22 W LED LED down lighter. MAKES : PHILIPS / OSRAM / GE / CROMPTON / BAJAJ / Keselec / HALONIX / HAVELLS / HPL / SURYA / SYSKA / Jaquar /Arraystorm / GM / Goldmedal / PRO-LITE | 1 | each | 1 | each | 370
Cost of materials per each
Add OH@10.615%
Total
Or Say
LED Driver for 90-180WLED street light
Data
Replacement of u/s with new Supply and transportation of LED Driver with input line voltage 120V-270V AC, 50Hz with surge protection of 4.0 KV, IP20, suitable for 90-180WLED street light fitting. Makes : PHILIPS / OSRAM / GE / CROMPTON / BAJAJ / Keselec / VIN / HALONIX / HAVELLS / HPL / SURYA / SYSKA / Jaquar / Arraystorm / GM / Goldmedal.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-3.6.3c | 1 | Supply and transportation of LED Driver with input line voltage 120V-270V AC, 50Hz with surge protection of 4.0 KV, IP20, suitable for 90-180WLED street light fitting. Makes : PHILIPS / OSRAM / GE / CROMPTON / BAJAJ / Keselec / VIN / HALONIX / HAVELLS / HPL / SURYA / SYSKA / Jaquar / Arraystorm / GM / Goldmedal. | 1 | each | 1 | each | 1670
Cost of materials per each
Add OH@10.615%
Total
Or Say
12Modular Cover Frame
Data
Replacement of u/s with new Supply of 12Modular Cover Frame. Makes ::Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.4f | 1 | Supply of 12Modular Cover Frame. Makes :Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 230
Cost of materials per each
Add OH@10.615%
Total
Or Say
8 or 9 Modular Cover Frame
Data
Replacement of u/s with new Supply of 8 or 9 Modular Cover Frame. Makes :Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.4e | 1 | Supply of 8 or 9 Modular Cover Frame. Makes Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 185
Cost of materials per each
Add OH@10.615%
Total
Or Say
6 Modular Cover Frame
Data
Replacement of u/s with new Supply of 6 Modular Cover Frame. Makes ::Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.4d | 1 | Supply of 6 Modular Cover Frame. Makes :Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 150
Cost of materials per each
Add OH@10.615%
Total
Or Say
4 Modular Cover Frame
Data
Replacement of u/s with new Supply of 4 Modular Cover Frame. Makes ::Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.4c | 1 | Supply of 4 Modular Cover Frame. Makes :Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 110
Cost of materials per each
Add OH@10.615%
Total
Or Say
3 Modular Cover Frame
Data
Replacement of u/s with new Supply of 3 Modular Cover Frame. Makes :Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.4b | 1 | Supply of 3 Modular Cover Frame. Makes :: Legrand Lyncus / GM Four Five / Goldmedal Curve / Million Milltech / Anchor Roma Plus | 1 | each | 1 | each | 95
Cost of materials per each
Add OH@10.615%
Total
Or Say
2.5 Sqmm 3 Core PVC / XLPE Cable
Data
Rewiring new Supply of 2.5 Sqmm 3 Core. PVC / XLPE Insulated Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade upto 1100 Volts as per IS: 694:2010 including all transportation charges etc complete. Makes : Finolex / RR kabel / Havells / Polycab
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.5.5 n | 1 | Supply of 2.5 Sqmm 3 Core. PVC / XLPE Insulated Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade upto 1100 Volts as per IS: 694:2010 including all transportation charges etc complete. Makes : Finolex / RR kabel / Havells / Polycab | 1 | each | 1 | each | 154
Cost of materials per each
Add OH@10.615%
Total
Or Say
1.5 Sqmm 3 PVC / XLPE Core Cable
Data
Rewiring new Supply of 1.5 Sqmm 3 Core. PVC / XLPE Insulated Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade upto 1100 Volts as per IS: 694:2010 including all transportation charges etc complete. Makes : Finolex / RR kabel / Havells / Polycab
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.5.5 m | 1 | Supply of 1.5 Sqmm 3 Core. PVC / XLPE Insulated Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade upto 1100 Volts as per IS: 694:2010 including all transportation charges etc complete. Makes : Finolex / RR kabel / Havells / Polycab | 1 | each | 1 | each | 94
Cost of materials per each
Add OH@10.615%
Total
Or Say
48" Decorative Ceiling Fan
Data
Replacement of u/s with new Supply of 48" (1200mm) Sweep decorative Ceiling Fan 1 Star Rated with all accessories etc., Makes : Crompton / Havells / Orient / Halonix
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.1.6 | 1 | Supply of 48" (1200mm) Sweep decorative Ceiling Fan 1 Star Rated with all accessories etc., Makes : Crompton / Havells / Orient / Halonix | 1 | each | 1 | each | 2000
Cost of materials per each
Add OH@10.615%
Total
Or Say
48" BLDC Ceiling Fan
Data
Replacement of old u/s with new Supply, Transportation of energy efficient fan, 1200 mm sweep, aluminium body, consuming 28 W, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) motor, class of insulation: F, 3 no's blades, 30 cm long down rod, 2 no's canopies, shackle'kit, copper winding, Power Factor greater than 0.90, Service Value (CMMAV) greater than 8.6, Air delivery minimum 235 CMM, 350 RPM( tolerance as per IS:374-2019), THD less than 10%. with remote or compatible to electronic step type regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75°C(max), insulation resistance more than 2 mega ohm, suitable for 230V, 50 HZ, single phase AC supply, earthing etc., including all standard accessories etc., complete with 5 years warranty.Makes:Atomberg (Efficio ) / Havells / Bajaj / Orient / Halonix / Crompton/Goldmedal / GM.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.1.2 | 1 | Supply, Transportation of energy efficient fan, 1200 mm sweep, aluminium body, consuming 28 W, BEE 5 star rated, ceiling fan with Brush Less Direct Current (BLDC) motor, class of insulation: F, 3 no's blades, 30 cm long down rod, 2 no's canopies, shackle'kit, copper winding, Power Factor greater than 0.90, Service Value (CMMAV) greater than 8.6, Air delivery minimum 235 CMM, 350 RPM( tolerance as per IS:374-2019), THD less than 10%. with remote or compatible to electronic step type regulator unit for speed control and all remaining accessories including safety pin, nut bolts, washers, temperature rise=75°C(max), insulation resistance more than 2 mega ohm, suitable for 230V, 50 HZ, single phase AC supply, earthing etc., including all standard accessories etc., complete with 5 years warranty.Makes:Atomberg (Efficio ) / Havells / Bajaj / Orient / Halonix / Crompton/Goldmedal / GM. | 1 | each | 1 | each | 3085
Cost of materials per each
Add OH@10.615%
Total
Or Say
12" Light duty exhaust fan
Data
Replacement of u/s with new Supply of 12" (300mm +/ - 5%) Light duty exhaust fan with metal blades etc complete Makes : Crompton / Havells Ventilair-DB / Orient hill air.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.1.11 b | 1 | Supply of 12" (300mm +/ - 5%) Light duty exhaust fan with metal blades etc complete Makes : Crompton / Havells Ventilair-DB / Orient hill air. | 1 | each | 1 | each | 1817
Cost of materials per each
Add OH@10.615%
Total
Or Say
BLDC 32 W Pedestal Fan
Data
Supply of 16" (400 mm) BLDC 32 W Pedestal Fan with service value 2.7 CMM / Watt and with remote controller and with all accessories etc., Makes : Atomberg / Crompton / Orient / Havells / Halonix .
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.1.8 | 1 |  | 1 | each | 1 | each | 3392
Cost of materials per each
Add OH@10.615%
Total
Or Say
BLDC 30 W Wall mounted Fan
Data
Replacement of u/s with new Supply of 16" (400mm) BLDC 30 W Wall mounted Fan with service value 2.7 CMM / Watt with all accessories etc.,Makes : Atomberg / Crompton / Orient / Havells / Halonix .
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.1.9 | 1 | Supply of 16" (400mm) BLDC 30 W Wall mounted Fan with service value 2.7 CMM / Watt with all accessories etc.,Makes : Atomberg / Crompton / Orient / Havells / Halonix . | 1 | each | 1 | each | 3150
Cost of materials per each
Add OH@10.615%
Total
Or Say
25 Ltrs Geysers
Data
Replacement of u/s with new Supply, Transportation, Installation, Testing and commissioning of storage / Pressure type Vertical / Horizontal 230/250V single phase 2000 watts 5 Star rated water heater with ABS plastic body of 25 Lts capacity to withstand up to 8.0 bar of water pressure including all standard accessories and dead weight pressure reducing valve on out let side, including cost of 2 Nos SS flexible braided hose pipe, testing and all labour charges etc., complete. Makes : Crompton / Jaquar / Venus / Racold / AO Smith / Havells / Bajaj or equivalent as approved by the Dept.
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.2.1 c | 1 | Supply, Transportation, Installation, Testing and commissioning of storage / Pressure type Vertical / Horizontal 230/250V single phase 2000 watts 5 Star rated water heater with ABS plastic body of 25 Lts capacity to withstand up to 8.0 bar of water pressure including all standard accessories and dead weight pressure reducing valve on out let side, including cost of 2 Nos SS flexible braided hose pipe, testing and all labour charges etc., complete. Makes : Crompton / Jaquar / Venus / Racold / AO Smith / Havells / Bajaj or equivalent as approved by the Dept. | 1 | each | 1 | each | 12735
Cost of materials per each
Add OH@10.615%
Total
Or Say
12 Surface Mounted PVC Modular Gang Box
Data
Replacement of u/s with new Supply of 12 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.2 f | 1 |  | 1 | each | 1 | each | 257
Cost of materials per each
Add OH@10.615%
Total
Or Say
8 OR 9Surface Mounted PVC Modular Gang Box
Data
Replacement of u/s with new Supply of 8 OR 9Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.2 e | 1 | Supply of 8 OR 9Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make | 1 | each | 1 | each | 210
Cost of materials per each
Add OH@10.615%
Total
Or Say
6 Surface Mounted PVC Modular Gang Box
Data
Replacement of u/s with new Supply of 6 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.2 d | 1 | Supply of 6 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make | 1 | each | 1 | each | 163
Cost of materials per each
Add OH@10.615%
Total
Or Say
4 Surface Mounted PVC Modular Gang Box
Data
Replacement of u/s with new Supply of 4 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.2 c | 1 | Supply of 4 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make | 1 | each | 1 | each | 121
Cost of materials per each
Add OH@10.615%
Total
Or Say
3 Surface Mounted PVC Modular Gang Box
Data
Replacement of u/s with new Supply of 3 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.3.2 b | 1 | Supply of 3 Surface Mounted PVC Modular Gang Box Makes : Similar to Switches Make | 1 | each | 1 | each | 101
Add OH@10.615%
Total
Or Say
4 Sqmm 3 Core. PVC / XLPE Cable
Data
Replacement of u/s with new Supply of 4 Sqmm 3 Core. PVC / XLPE Insulated Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade upto 1100 Volts as per IS: 694:2010 including all transportation charges etc complete. Makes : Finolex / RR kabel / Havells / Polycab
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.5.5 o | 1 | Supply of 4 Sqmm 3 Core. PVC / XLPE Insulated Sheathed Multi Core Bright Annealed Bare Copper Conductor Heavy Duty Industrial Cables for Voltage Grade upto 1100 Volts as per IS: 694:2010 including all transportation charges etc complete. Makes : Finolex / RR kabel / Havells / Polycab | 1 | each | 1 | each | 215
Cost of materials per each
Add OH@10.615%
Total
Or Say
1 HP Single phase Monoblock motor pumpset
Data
Replacement of u/s with new Supply and Transportation of 1 HP Single phase ISI Mono block CI body motor pumpset (25x25mm).Makes: Texmo / CRI / KSB / Aryenvarsha / Lubi / Falcon
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.10.3 a | 1 | Supply and Transportation of 1 HP Single phase ISI Mono block CI body motor pumpset (25x25mm).Makes: Texmo / CRI / KSB / Aryenvarsha / Lubi / Falcon | 1 | each | 1 | each | 15750
Cost of materials per each
Add OH@10.615%
Total
Or Say
1 HP Single phase openwell submersible motor pumpset
Data
Replacement of u/s with new Supply, Transportation and Installation of-1 HP Single phase open well ISI submersible motor pumpset. Makes: Texmo / CRI / KSB / Aryenvarsha / Lubi / Falcon
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-5.8.1 a | 1 | Supply, Transportation and Installation of-1 HP Single phase open well ISI submersible motor pumpset. Makes: Texmo / CRI / KSB / Aryenvarsha / Lubi / Falcon | 1 | each | 1 | each | 17850
Cost of materials per each
Add OH@10.615%
Total
Or Say
6/10A 1Way 1 Module Switch (Schneider Zen celo)
Data
Replacement of u/s with new Supply of 6/10A 1Way 1 Module Switch Makes :: Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.1a | 1 | Supply of 6/10A 1Way 1 Module Switch Supply of 6/10A 1Way 1 Module Switch Makes :: Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee | 1 | each | 1 | each | 137
Cost of materials per each
Add OH@10.615%
Total
Or Say
10A 3 Pin 2 Moduar Socket (Schneider Zen celo)
Data
Replacement of u/s with new Supply of 10A 3 Pin 2 Moduar Socket with shutter 1Way 1 Module SwitchSupply of 6/10A 1Way 1 Module Switch Makes :: Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.1d | 1 | Supply of 10A 3 Pin 2 Moduar Socket with shutter 1Way 1 Module Switch Supply of 6/10A 1Way 1 Module Switch Makes :: Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee | 1 | each | 1 | each | 205
Cost of materials per each
Add OH@10.615%
Total
Or Say
10A Modular Bell Push (Schneider Zen celo)
Data
Replacement of u/s with new Supply of 10A Modular Bell Push with Neon Indicator- Supply of 6/10A 1Way 1 Module Switch Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.1(f) | 1 | Supply of 10A Modular Bell Push with Neon Indicator- Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee | 1 | each | 1 | each | 200
Cost of materials per each
Add OH@10.615%
Total
Or Say
20A 1 Way 1 Module Modular Switch (Schneider Zen celo)
Data
Replacement of u/s with new Supply of 20A 1 Way 1 Module Modular Switch with Indicator Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.1j | 1 | Supply of 20A 1 Way 1 Module Modular Switch with Indicator Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee | 1 | each | 1 | each | 200
Cost of materials per each
Add OH@10.615%
Total
Or Say
20A 2 Module Modular Socket (Schneider Zen celo)
Data
Replacement of u/s with new Supply of 20A 2 Module Modular Socket with shutter. Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee
SOR 2025-26 |  | a) Material | Qty | Unit | Qty | Unit | Rate per item | Amount
ELEC-1.9.1 k | 1 | Supply of 20A 2 Module Modular Socket with shutter. Makes : Legrand Arteor / Schneider Zen celo / Honeywell Blenge Plus / Crabtree Murano / Logus Platina / Gold Medal GIFA / GM-Zenova/ LK Englaze / Million M-Vee | 1 | each | 1 | each | 273
Cost of materials per each
Add OH@10.615%
Total
Or Say

## Groups
Item Name | Group | Prefix
1 HP Single phase Monoblock motor pumpset | Motor Pumpsets | Replacement of old u/s with new
1 HP Single phase openwell submersible motor pumpset | Motor Pumpsets | Replacement of old u/s with new
1.5 sq.mm FRLSH copper cable | Flexible Cables | Rewiring with new
1.5 Sqmm 3 PVC / XLPE Core Cable | Flat Cables | Rewiring with new
100A FP Isolator | DBs & their components | Replacement of old u/s with new
10A 3 Pin 2 Moduar Socket | Switch Boards & their components | Replacement of old u/s with new
10A 3 Pin 2 Moduar Socket (Schneider Zen celo) | Switch Boards & their components | Replacement of old u/s with new
10A Modular Bell Push | Switch Boards & their components | Replacement of old u/s with new
10A Modular Bell Push (Schneider Zen celo) | Switch Boards & their components | Replacement of old u/s with new
12 Surface Mounted PVC Modular Gang Box | Switch Boards & their components | Replacement of old u/s with new
12" Light duty exhaust fan | Fans & their Accessories | Replacement of old u/s with new
12.0W LED Bulb | Lighting Fixtures | Replacement of old u/s with new
125A 3 Pole MCCB | DBs & their components | Replacement of old u/s with new
12Modular Cover Frame | Switch Boards & their components | Replacement of old u/s with new
15W LED slimline panel light | Lighting Fixtures | Replacement of old u/s with new
16A flush type Socket | Switch Boards & their components | Replacement of old u/s with new
16A flush type Swich | Switch Boards & their components | Replacement of old u/s with new
19/20mm Casing & Capping | Conduiting | Re-laying with new
2.5 sq.mm FRLSH copper cable | Flexible Cables | Rewiring with new
2.5 Sqmm 3 Core PVC / XLPE Cable | Flat Cables | Rewiring with new
20A 1 Way 1 Module Modular Switch | Switch Boards & their components | Replacement of old u/s with new
20A 1 Way 1 Module Modular Switch (Schneider Zen celo) | Switch Boards & their components | Replacement of old u/s with new
20A 2 Module Modular Socket | Switch Boards & their components | Replacement of old u/s with new
20A 2 Module Modular Socket (Schneider Zen celo) | Switch Boards & their components | Replacement of old u/s with new
20W LED Batten light | Lighting Fixtures | Replacement of old u/s with new
25 Ltrs Geysers | Water Heaters | Replacement of old u/s with new
25mm PVC Pipe | Conduiting | Re-laying with new
25mm x 12 mm Casing & Capping | Conduiting | Re-laying with new
3 Modular Cover Frame | Switch Boards & their components | Replacement of old u/s with new
3 Plate Jumbo Ceiling Rose | Switch Boards & their components | Replacement of old u/s with new
3 Surface Mounted PVC Modular Gang Box | Switch Boards & their components | Replacement of old u/s with new
4 Surface Mounted PVC Modular Gang Box | Switch Boards & their components | Replacement of old u/s with new
4 Modular Cover Frame | Switch Boards & their components | Replacement of old u/s with new
4 Sqmm 3 Core. PVC / XLPE Cable | Flat Cables | Rewiring with new
4.0 sq.mm FRLSH copper cable | Flexible Cables | Rewiring with new
40A DP Isolator | DBs & their components | Replacement of old u/s with new
40A TP MCB | DBs & their components | Replacement of old u/s with new
48" BLDC Ceiling Fan | Fans & their Accessories | Replacement of old u/s with new
48" Decorative Ceiling Fan | Fans & their Accessories | Replacement of old u/s with new
6 Modular Cover Frame | Switch Boards & their components | Replacement of old u/s with new
6 Surface Mounted PVC Modular Gang Box | Switch Boards & their components | Replacement of old u/s with new
6.0 sq.mm FRLSH copper cable | Flexible Cables | Rewiring with new
6/10A 1Way 1 Module Switch | Switch Boards & their components | Replacement of old u/s with new
6/10A 1Way 1 Module Switch (Schneider Zen celo) | Switch Boards & their components | Replacement of old u/s with new
6-32A SP MCB | DBs & their components | Replacement of old u/s with new
63A FP Isolator | DBs & their components | Replacement of old u/s with new
6A 1 Way flush type Bed Switch / Bell Push | Switch Boards & their components | Replacement of old u/s with new
6A 1 Way flush type Swich | Switch Boards & their components | Replacement of old u/s with new
6A 3/2 pin flush type Socket | Switch Boards & their components | Replacement of old u/s with new
6sqmm WPTC Aluminium wire | Flat Cables | Rewiring with new
7.0W LED Bulb | Lighting Fixtures | Replacement of old u/s with new
8 or 9 Modular Cover Frame | Switch Boards & their components | Replacement of old u/s with new
8 OR 9Surface Mounted PVC Modular Gang Box | Switch Boards & their components | Replacement of old u/s with new
BH / SBH | Lighting Fixtures | Replacement of old u/s with new
BLDC 30 W Wall mounted Fan | Fans & their Accessories | Replacement of old u/s with new
BLDC 32 W Pedestal Fan | Fans & their Accessories | Replacement of old u/s with new
Buzzer | Bells | Replacement of old u/s with new
Capacitor for fans | Fans & their Accessories | Replacement of old u/s with new
Ding Dong Bell | Bells | Replacement of old u/s with new
Electronic Fan Regulator | Fans & their Accessories | Replacement of old u/s with new
Flush Stepped type Electronic Regulator | Fans & their Accessories | Replacement of old u/s with new
LED Driver for 90-180WLED street light | Lighting Fixtures | Replacement of old u/s with new
LED Driver for LED down lights | Lighting Fixtures | Replacement of old u/s with new
Pendent Holder | Lighting Fixtures | Replacement of old u/s with new
PVC / Cotton Insulation tape Role | Tools & Equipment
Rewinding of motor of 1200mm / 1400mm ceiling Fan | Fans & their Accessories | Replacement of old u/s with new
Semi Skilled Electrican / Helper Salary | Technicians Salary
Skilled Electrican Salary | Technicians Salary